## Slide 1: S7-1200 communication with WinCC RT Professional

## Slide 2
Step 1: Open TIA portal and Create Proect

## Slide 3
Step 2: Add PLC in our case it is S7-1200 PN

## Slide 4
Step 3: Set PG/PC interface from Control Panel as shown in PIC.

## Slide 5
Step 4: Detect PLC from hardware connection using Right IP address

## Slide 6
Step 5: Insert PC station and write IP address in range.

## Slide 7
Step 6 : Add HMI connection between PLC and PC station

## Slide 8
Step 7: Remove “set automatically” and Set “s7-online” access point.

## Slide 9
Step 8: Make simple light programme in PLC and Download it
and Design Light In SCADA and Test it.

## Slide 10
Thank - You