## Sheet1
Sizing of an OFF Grid system
LOAD
TOTAL LOAD WATTAGE (W) | 0
AC Voltage(V) | 220
DC Voltage(V) | 24 |  | Loads
total load energy | 0
Inverter |  |  | Load | Rating(W) | Operating time | Load energy
INVERTER MAXIMUM POWER RATING (W) | 1000 |  |  |  |  | 0
INVERTER EFFICIENCY (%) | 85% |  |  |  |  | 0
Inverter DC voltage(V) | 24 |  |  |  |  | 0
Inverter AC voltage(V) | 220 |  |  |  |  | 0
Charger | [5 empty] | 0
CHARGE CONTROLLER EFFICIENCY (%) | 100% |  |  |  |  | 0
Safty factor | 1.56 |  |  |  |  | 0
PV modules | [5 empty] | 0
Max. power (W) | 53 |  |  |  |  | 0
Voc(V) | 21.8 |  |  |  |  | 0
Isc(A) | 3.27 |  |  |  |  | 0
Vmpp (V) | 17.4 |  |  |  |  | 0
degration coaficient for hot climates | 90% |  |  |  |  | 0
Battery | [5 empty] | 0
DOD OF BATTERY (40% : 80 %) | 80% |  |  |  |  | 0
Battery Bus Voltage (V) | 24 |  |  |  |  | 0
Selected battery Voltage(V) | 12 |  |  |  |  | 0
Ah of each battery | 478 |  |  |  |  | 0
Days of storage required | 7 |  |  |  |  | 0
Battery round tipping(0.7-0.85) | 0.85 |  |  |  |  | 0
Location | [5 empty] | 0
site latitude | 31 |  |  |  |  | 0
SUN hour | 3.8 |  |  |  |  | 0
Design titl | 46 |  |  |  |  | 0
0
Inverter CALCULATIONS | [5 empty] | 0
INVERTER INPUT POWER (W) | NUMBER OF INVERTERS NEDDED |  |  |  |  | 0
0 | 0 |  |  |  |  | 0
0
0
0
Battery CALCULATIONS | [5 empty] | 0
NUMBER OF BATTERIES NEDDED in series | NUMBER OF BATTERIES NEDDED in Parallel |  |  |  |  | 0
2 | 0 |  |  |  |  | 0
0
0
0
0
Charger CALCULATIONS | [5 empty] | 0
charger current | CHARGER INPUT Energy |  |  |  |  | 0
0 | 0 |  |  |  |  | 0
0
0
0
0
Module CALCULATIONS | [5 empty] | 0
NUMBER OF PHOTO VOLTAIC MODULES NEDDED | NUMBER OF PHOTO VOLTAIC MODULES IN SERIES | NUMBER OF PHOTO VOLTAIC MODULES IN parallel |  |  |  | 0
0 | 2 | 0 |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0